## Slide 1: Optical Tweezers
Lincoln Connor
Maria Conneran

## Slide 2: Outline
Project Goals
Optical tweezing theory and results
Sample preparation
Quadrant photodetector motivation and results
Future work

## Slide 3: Goals
CCD imaging of optical trapping
Implement quadrant photodetector
Reorient detection wing
Manipulate biological sample

## Slide 4: Setup

## Slide 5: Optical Tweezing Theory
Different indices of refraction
Conservation of momentum
Equilibrium
 | R.Koebler optical trap/optical tweezer: explanation with unfocused laser

## Slide 6: Applications for Optical Tweezers
Hold, measure/apply known force, local viscosity;
Parthasarathy Lab: McIntyre Lab:

## Slide 7: Optical Trapping
Beam expander
Overfill back aperture
Video

## Slide 8: Sample Preparation
Spacer
Sealants
Cleaning
Dilution
Sticky tape wells
Higher viscosity immersion oil

## Slide 9: Dilution
1/1600

## Slide 10: Quadrant Photodetector
Silicon (400-1050nm)
X, Y, SUM
150kHz bandwidth
Responsivity: 0.45A/W
Dark Current of 5nA
Recommended spot size: 1 mm to 3.9 mm

## Slide 11: Calibration
5.37μm/V
Piezoelectric Voltage

## Slide 12: Equipartition

## Slide 13: Lorentzian Fit

## Slide 14: Suggestions for future work
Improve sample preparation
Improve stability
Detection beam
SLM implementation

## Slide 15: Questions?

## Slide 16: Horizontal Setup

## Slide 17: Lens System for QPD

## Slide 19: Data Acquisition

## Slide 20: QPD
DAQ

## Slide 21
GigE Camera
Olympus 100x oil immersion
objective lens

## Slide 22: Einstein-Ornstein-Uhlenbeck